TEMPLATE for SITE- SPECIFIC Laser Safe Work Procedure:

EMERGENCY CONTACTS AND EQUIPMENT

A telephone is located ________________, outside the laser controlled area.

Emergency contact numbers:

Emergency (Security Services):  555

Departmental Owner:

Laser Safety Contact:

Department Head:

LASER DESCRIPTION:

LASER SAFE WORK PROCEDURE:

Laser goggles are stored in_______. These goggles must be worn when the laser is in use by anyone within the laser controlled area. The correct goggles for alignment have an optical density of ___ at ___ nm; the goggles used for operation at higher power have an optical density of  ___ at ___ nm.

In the general Laser Safe Work Procedures (SWPs) described below, the Laser operator must insure that:

- Warning signage is posted on the entrance door and near the entrance to the laser controlled area

- The warning light is functioning when the laser controller is turned on

- A copy of the Laser SWPs is located on the computer desk with emergency contact information on front cover

- The telephone location on the north wall is know to all occupants

- All occupants in the laser controlled area during operation have appropriate laser eyeware and are listed as trained staff in Appendix B

- No extension cords are crossing walkways

- The “Panic Button” is located beside the laser during alignment and the computer during operation

- All reflective jewellery is removed by occupants

- The laser housing and beam stopping materials are in place

- All body parts are kept outside of the beam stopping materials during operation

- While operating, all occupants remain at the computer to avoid stray reflections

See Appendix A for a full risk hazard assessment.

APPENDIX A

SUMMARY OF HAZARDS: RISK ASSESSMENT VS. CONTROL MEASURES

LASER

| LASER DESCRIPTION | TYPE | CLASS |
| --- | --- | --- |
| U OF M # | WAVE LENGTH | MAXIMUM POWER |
| BUILDING | ROOM# | FACILITY |

RESPONSIBILITY FOR IMPLEMENTING CONTROL MEASURES

| POSITION | NAME | APPLICABILITY |
| --- | --- | --- |
| DEPARTMENT HEAD |  |  |
| DEPARTMENTAL OWNER |  |  |
| LASER OPERATORS | SEE APPENDIX B |  |
| OTHER OCCUPANTS | SEE APPENDIX B |  |

HAZARDS

| HAZARD (CONTROLLED AREA) | RISKS | CONTROL MEASURES |
| --- | --- | --- |
| DIRECT LASER RADIATION, DIFFUSE AND SPECULAR REFLECTIONS FROM CLASS __ LASER | (low, medium, high) POTENTIAL FOR EYE AND/OR SKIN DAMAGE RISK TO EPILEPTICS ? | LASER CONTROLLED AREA AS PER ANSI Z136.1-2007: DEFINED AS THE FLOOR SPACE WITHIN room (NOMINAL HAZARD ZONE) WARNING SIGNAGE: WARNING LIGHTS: ENTRY CONTROL: EMERGENCY EXITING: EMERGENCY LASER SHUTDOWN: PROTECTIVE EYEWARE: MAXIMUM OCCUPANCY GOGGLE/SPECTACLE SPECIFICATIONS 1) Type/Make 2) ___________ ______nm OD+9 Same as 1) ______nm OD+7 _______nm OD+3 _______nm OD+5 LASER KEY CONTROL: ACCESS CONTROL: TRAINED STAFF-EHSO LASER SAFETY INFORMATION PPT COMPLETED (SEE APPENDIX B FOR LIST) FOR PROTECTION OF ANCILLARY STAFF (UNTRAINED) __________________________ SAFE WORK PROCEDURES(SWPS): COPY LOCATED : ______________ UNATTENDED OPERATION IS PROHIBITED |

| HAZARD (LASER - NON BEAM) | RISKS | CONTROL MEASURES |
| --- | --- | --- |
| ELECTRICAL / FLOOD | _____________ POWER SUPPLY TO LASER | CSA APPROVED GROUNDED ELECTRICAL SERVICE ENGINEERED. EXTENSION CORDS SURGE PROTECTED |
| FIRE: | LASER HAS _____ POTENTIAL TO START A FIRE |  |
| CHEMICAL: (DYES) | (low, medium, high) |  |
| COMPRESSED GASES/CRYOGENICS |  |  |
| HAZARD (APPLICATION) | RISKS | CONTROL MEASURES |
| ANALYZING WATER JET INTO TANK USING PIV |  |  |
| FLOOD CREATES: SHOCK /SLIPPING | ______ POTENTIAL FOR WATER LEAKAGE FROM ACRYLIC TANK, HOSES, PUMP ONTO FLOOR ______ POTENTIAL FOR SLIPPING ______ POTENTIAL FOR SHOCK |  |
| NOISE |  |  |
| AIR QUALITY |  |  |
| TRIPPING |  |  |

APPENDIX B

LASER OPERATORS

| NAME | TRAINED BY | DATE |
| --- | --- | --- |

EHSO LASER SAFETY INFORMATION PPT COMPLETED

| NAME | CERTIFICATE SIGNED | DATE |
| --- | --- | --- |